Investigational Testing Authorization (ITA) and revised ITA Review Template

All UofC sponsored investigator-initiated, clinical trials that require Health Canada approval must be submitted to Quality Assurance and Regulatory Compliance Office for review. The office will review all of the study related documentation from a regulatory perspective before approving the Application for Investigational Testing Authorization (ITA) form for signature by the Associate Vice - President Research (Health).

The following checklist will assist you in ensuring that your study documents are ready for review by the QA and Regulatory Compliance Office.

Please include this completed check list when submitting your ITA to the Quality Assurance and Regulatory Compliance Office for review.

Study Title:

REB Study number:

Qualified Investigator (QI):

Individual handling the regulatory submission (Name, email, phone number):

Role: ___ Qualified Investigator ___ Coordinator ___ Program Manager     ___ Other

Applications for Medical Device Investigational Testing Authorizations Guidance Document

The QA reviewer’s comments and feedback begins on page 9.

What is a medical device?

The term 'medical device' covers a wide range of products used in the treatment, mitigation, diagnosis or prevention of a disease or abnormal physical state. The definition is broader than a physical device; it also includes computer software, lab reagents, etc.

If, after reviewing these definitions, you are still unclear if your research includes a device, please contact hc.mdb.enquiries‐enquetes.bmm.sc@canada.ca.

The regulatory definitions of a 'device' a 'medical device' and a ‘Software as a medical device’ are:

- Device (as defined in section 2 of the Food and Drugs Act (the Act) - refers to any article, instrument, apparatus or contrivance, including any component, part or accessory thereof, manufactured, sold or represented for use in:

  - diagnosing, treating, mitigating or preventing a disease, disorder or abnormal physical state, or any of their symptoms, in human beings or animals;

  - restoring, modifying or correcting the body structure of human beings or animals or the functioning of any part of the bodies of human beings or animals;

  - diagnosing pregnancy in human beings or animals;

  - caring for human beings or animals during pregnancy or at or after the birth of the offspring, including caring for the offspring; and

  - preventing conception in human beings or animals.

however, it does not include such an instrument, apparatus, contrivance or article, or a component, part or accessory of any of them, that does any of the actions referred to in paragraphs (a) to (e) solely by pharmacological, immunological or metabolic means or solely by chemical means in or on the body of a human being or animal; (instrument)

- Medical Device (as defined in section 1 of the Medical Devices Regulations) - refers to a device within the meaning of the Act, but does not include any device that is intended for use on animals.

- Software as a Medical Device (SaMD) (as defined in section 1 of the Software as a Medical Device (SaMD) Guidance)- refers to software intended to be used for one or more medical purposes that perform these purposes without being part of a hardware medical device.

Risk Classifications

Class IV IVDDs: are those devices whose use has a high public health risk to the community in general. It includes IVDDs used for donor screening or for the diagnosis of life-threatening diseases caused by transmissible pathogens such as HIV and hepatitis viruses. These are diseases that result in death or long-term disability, that are often untreatable or require major therapeutic interventions and where an accurate diagnosis is vital to mitigate the public health impact of the condition.

Class III IVDDs: are those devices whose use has either a moderate public health risk or a high individual risk. They present a moderate public health risk to the community in general or in some cases to a more confined environment such as a hospital, as they are used to detect transmissible agents that cause diseases that, although often treatable, may result in death or long term disability if not treated in a timely manner and where an accurate diagnosis offers an opportunity to mitigate the public health impact of the condition. Examples include sexually transmitted agents and infectious agents that cause nosocomial infections. Class III IVDDs that present a high individual risk are those where an erroneous result would put the patient in an imminent life-threatening situation (for example [e.g.] IVDDs used in cases of suspected meningitis or septicaemia) or would have a major negative impact (e.g. result in death or severe disability) as they are a critical, or even the sole, determinant of a diagnosis or treatment decision (e.g., cancer or prenatal screening). Their use may also present a high individual risk because of the stress and anxiety resulting from the information and the nature of the possible follow-up measures (e.g. genetic testing and congenital disorders).

Class II IVDDs: are those devices whose use has either a low public health risk or a moderate individual risk. These present a low community risk because they detect infectious agents that are not easily propagated in a population or that cause self-limiting diseases. They present a moderate individual risk as they are generally not the sole determinant of a diagnosis or treatment decision and where they are, it is not likely that an erroneous result will cause death, severe disability, or other major negative health impact.

Class I IVDDs: are those devices whose use has minimal public or individual health risks, such as general in vitro diagnostic laboratory equipment and general diagnostic reagents.

The risk classification of a device under investigational testing may differ from that of the device in general sale if, for example, a new indication is being investigated. The risk class assigned to an investigational device may also be different from the classification assigned by Health Canada at the time a future license application is filed if at the time of licensing it is deemed to present a higher or lower risk.

Stages of Product Development

First in Human (FIH):

A first in human study is a type of study designed to evaluate a device for a specific indication for the first time in humans for the purpose of:

- gaining initial clinical insights

- refining device design

- addressing an unmet clinical need, or

- when additional non‐clinical testing is not feasible

Early Feasibility:

An early feasibility study is a limited clinical investigation of a device early in development, typically before the device design has been finalized (e.g., innovative device for a new or established intended use or marketed device for a novel clinical application). Clinical investigation designed to obtain initial insights into the safety and performance of a new device.

Traditional Feasibility:

Clinical investigation designed to capture preliminary safety and effectiveness information on a near‐final or final device design to adequately plan an appropriate pivotal study.

Pivotal Study:

Clinical investigation designed to collect definitive evidence of the safety and effectiveness of a device for a specified intended use, typically in a statistically justified number of subjects.

Is an ITA required?

Unlike with a drug study, medical device studies do not always require an application.

ITA is required:

- For all unlicensed class II, III, and IV medical devices (as defined under the Food and Drugs Act) that will be imported and/or sold in Canada for the purpose of investigational testing involving humans.

- If the investigator-initiated trial involves an unlicensed device, an ITA would be required. In these cases, the investigator must obtain the cooperation of the manufacturer, who must be the official applicant and signatory for the ITA application. Regulatory correspondence and clinical oversight can be delegated by the manufacturer who is the legal sponsor of the clinical investigation.

- A licensed device to be used in a manufacturer‐sponsored study intended to generate data to support a new indication for use will require an ITA application.

- Licensed medical devices used in clinician‐sponsored investigations that are not initiated by the manufacturer and are not intended to generate data to support a licensing application now require an ITA.1 Clinicians planning to use licensed medical devices in clinical investigations outside the scope of the authorized indications for use are required to involve the manufacturer to submit the ITA.

ITA is not required:

- For the conduct of a study using a licensed device according to its licensed indications for use (whether it is manufacturer or clinician sponsored).

An investigator that is unsure if their trial meets these conditions is encouraged to contact Health Canada to determine whether an ITA is required.

1 The Budget Implementation Act, 2019, No. 1 introduced a general prohibition on the conduct of clinical trials without an authorization (section 3.1 of the Food and Drug Act). As part 3 of the Medical Devices Regulations only permit manufacturers to apply for authorization, clinicians wanting to conduct a clinical trial with a licensed device used off-label must partner with the manufacturers to submit an ITA application to Health Canada so that there is appropriate regulatory oversight of the study. Section 2.3.2.2 of the Applications for Medical Device Investigational Testing Authorizations Guidance Document will be revised accordingly to reflect this information.

Protocol

The following elements need to be present as per Good Clinical Practice (GCP) requirements – GCP 6. (Refer to Appendix A at the end of the document)

Date and version number in either the header or footer

There is a statement that the study will be conducted in accordance to GCP and Medical Device Regulations, Part 3, and any other relevant Health Canada regulations (e.g. Food and Drug, Division 5).

There is a section explaining plans for a Data Safety Monitoring Board (DSMB). If not Data Safety Monitoring Board will be set up, reasons for why this is not deemed necessary should be provided.  Note: A more detailed DMSB charter, terms of reference and guidance documents should be created for your essential documents. Templates for these documents may be obtained by contacting UC QA staff.

Monitoring methods by the coordinating centre are discussed (recommended: do not include a very detailed monitoring plan in the protocol as this is subject to modifications).

If this is a multi-site study, serious Adverse Events (SAE) reporting to the study Sponsor is described including definition of SAEs and reporting, timelines.

A statistician has been consulted.  Note:  It is highly recommended to obtain the input from a statistician.  Statistical resources can be sought through the Clinical Research Unit.

Consent

All elements as per GCP requirements are present. Please refer to GCP 4.8.10 for a complete list of required elements. Refer to CHREB template. (A list of required elements are listed in Appendix B)

Date of version is in the header or footer.

Risk section is consistent with the Product Monograph (PM)/ Investigator Brochure (IB).

The consent signature page is up-to-date.

Alternative Forms of Consent are included (if applicable)

Assent form.

Surrogate consent form.

Deferred Consent form.

Verbal consent form.

E-Consent form.

Other:

Health Canada Investigational Testing Authorization (ITA) Form

For Class II devices, the Research Ethics Board approval must be obtained prior to submitting your ITA to Health Canada. For Class III/IV devices, you may apply to Health Canada without REB approval, but cannot initiate your study until your ethics certificate has been submitted to Health Canada.

Ensure the current version of the ITA form is used.

The plans for using the device are outlined.

ITA Guidance document:  In the case where one study protocol contains multiple unlicensed devices by different manufacturers, each manufacturer must submit a separate ITA application (form and submission). A manufacturer may only list the devices they manufacture on their application form. As an option, one manufacturer may submit a complete ITA application which contains all “Institutional Information” and “Study Documents” contents.

Part 1 – Manufacturer Information

A) Manufacturer Mailing Address, Provide the complete name and address of the device manufacturer. If this device is your own, add the Governors of University of Calgary and List Associate Vice President (Research Health) are identified as the study sponsor (Section A, #1. Governors of the University of Calgary; #7 Dr. Marcello Tonelli).

B) Regulatory Correspondence, if the manufacturer agrees that regulatory correspondence should go to you, then add the University of Calgary as the manufacturer name and your contact information (or that of your research coordinator/assistant).

Part 2 – Device Information

Box 25 indicate the risk classification for your device.

Source: Guidance for the Risk Based Classification System of In Vitro Diagnostic Devices (IVDD)

If, after reviewing these documents assistance is still required you may contact, hc.mdb.enquiries‐enquetes.bmm.sc@canada.ca.

Box #26 Enter the device name (it must match the name that appears on the label)

Box #27 Describe the intended use of the device

Box #28 Indicate whether the device subject to this application has been previously authorized for sale and/or importation in Canada under the Investigational Testing or Special Access provisions of the Medical Device Regulations

Boxes #29 to 32 Only answer if box #28 is yes

Part 3 – Device Containing a Drug

Only complete if your device includes a drug.

Part 4 – Device Containing Biological Material

Only complete if your device includes a biologic.

Part 5 – Protocol

Complete all of the sections, ensuring consistency with the protocol and informed consent.

Part 6 – Supporting Information/Evidence

Box #65 Check off all of the items in the submission package

Part 7 – Attestations and Signatures

The application should be signed by the Manufacturer or Associate Vice President (Research Health)

Supporting Documentation

The cover letter with a list of all the documents submitted to Health Canada is provided (with dates of versions submitted. E.g. Protocol May 2019, Informed Consent May 2019, etc.).

A one or two page executive summary of the application

Table of Contents

Pre-submission correspondence (if you had a pre-ITA discussion with Health Canada)

A signed Investigator Agreement for each Investigator listed on the authorization. A copy of the agreement can be found here

Submitting Your Application

The following is the “non‐eCTD electronic‐only” format for ITA applications referenced in the

Notice ‐ Applications for Investigational Testing Authorization (ITA), for Medical Devices, in the "Non‐eCTD Electronics‐Only" Format. Some of the sections are not applicable to Class II applications. Empty folders must be deleted before filing to Health Canada. Any other supporting documentation that does not fall into one of the pre‐defined folders can be provided in an appendix, but should be clearly referenced in the Executive Summary.

For more information on what each of these sections should include, please refer to the guidance document.

# 01‐ Cover Letter & Executive Summary

02‐ Table of Contents

03‐ Application Form

04‐ Pre‐submission Correspondence (if a pre-ITA meeting was held)

05‐ Introduction

  - Manufacturer or Importer Identification

  - Device Identification

  - Device Description

  - Design Philosophy

  - Indications For Use, Intended Use, Contraindications

  - Device Labelling

  - Market History

# 06‐ Risk Assessment and Risk Reduction Measures

  - Risk Assessment

  - Previous Studies

  - Alternate Treatments or Testing Options

  - Precautions

# 07‐ Institutional Information

  - Investigator Information

  - Curriculum Vitae

  - Investigator Agreements

  - Name and Address of Institutions

  - Research Ethics Board Approval

08‐ Study Documents

  - Protocol

  - Investigator’s Brochure

  - Informed Consent Form

09‐ Appendices

QA Reviewer Observations (Do not complete – QI office use)

Quality Assurance Reviewer:

Date Received:

Verify that the research team has all the supporting documentation they need such as (but not limited to): letter of access if applicable, placebo information if applicable or product lot number if applicable (recommended if a marketed drug is imported from the US), placebo information, product Monograph most recent version (source of product monograph for Canada: Drug Product database).

ITA Submission Application - Changes requested before signature?

Indicate “No changes” and send an electronic copy of the form ITA to Dr. Marcello Tonelli, Associate VP – Research (Health).  Signature can be electronic.

Changes or additional documents requested. Specify below and email the requested changes to the study team.

ITA File Findings

# 01‐ Cover Letter & Executive Summary

02‐ Table of Contents

03‐ Application Form

04‐ Pre‐submission Correspondence (if a pre-ITA meeting was held)

05‐ Introduction

  - Manufacturer or Importer Identification

  - Device Identification

  - Device Description

  - Design Philosophy

  - Indications For Use, Intended Use, Contraindications

  - Device Labelling

  - Market History

# 06‐ Risk Assessment and Risk Reduction Measures

  - Risk Assessment

  - Previous Studies

  - Alternate Treatments or Testing Options

  - Precautions

# 07‐ Institutional Information

  - Investigator Information

  - Curriculum Vitae

  - Investigator Agreements

  - Name and Address of Institutions

  - Research Ethics Board Approval

08‐ Study Documents

  - Protocol

  - Investigator’s Brochure

  - Informed Consent Form

09‐ Appendices