## Instructions
Health Sciences Centre B104a, 3330 Hospital Dr. NW
Calgary, AB, Canada, T2N 4N1
Email: dnaseq@ucalgary.ca Tel: 403-220-4503
https://cumming.ucalgary.ca/research/cat/health-genomics/home
SUBMITTING PRE-CONSTRUCTED NGS LIBRARIES
This user guide is for the preparation and submission of pre-constructed NGS libraries.
Steps
1. Obtain an NGS project order/billing form by contacting dnaseq@ucalgary.ca
The NGS project order forms detail the project parameters and include requestor and billing information.
University of Calgary Researchers:
Complete the online Annual Authorization Form (AAF) at: https://uofc.sharepoint.com/sites/spo-faculty-medicine-aaf
Complete a CHGI NGS project order form and ensure the project code is the same as listed on the AAF.
Email the CHGI NGS project order form to dnaseq@ucalgary.ca
Non-University of Calgary Researchers:
Complete a Statement of Work - requires a purchase order number
Email the CHGI SOW to dnaseq@ucalgary.ca
2. Read and follow ALL submission requirements below. Libraries that do not meet the requirements will be returned.
3. Enter project and library information on the next tab. Enter adapter and indexing information on the third tab.
4. Email this form to dnaseq@ucalgary.ca.
5. Submit libraries
In person to the hall fridge/freezer located outside HSC B104a, Monday to Friday prior to 2:30pm
Courier to CHGI address
Sample Preparation
Library Construction:
Constructed libraries must be compatible with Illumina sequencing instruments.
Sequencing performance of custom library preparations cannot be guaranteed unless pilot sequencing runs are performed.
We encourage you to perform the research and assess your project's compatibility with Illumina sequencing prior to submission.
Libraries that require pooling by CHGI are accepted in the following two formats:
0.2mL strip tubes, 8-well with detachable caps.
0.2mL 96-well PCR plates half or no skirt.
Do not skip wells.
Pre-pooled libraries are accepted in the following formats:
Tubes: 0.5 mL or 1.5 mL DNA LoBind tubes
Quantitate samples by fluorometric method (e.g. Qubit, Quant-iT)
Buffer 10 mM Tris HCl (no EDTA) or nuclease-free water.
Indexed Libraries:
If fastq files are required, index sequences must be provided at the time of submission.
The use of UDIs (unique dual indexes) is strongly recommended, though not required.
Indexes MUST have a balanced mix of bases at each position to ensure no focusing issues and run failure.
Carefully choose indexes for low plex pools: 2-plex, 3-plex and 4-plex pools. | Reference material from Illumina and 10x Genomics on index colour balance:
https://knowledge.illumina.com/instrumentation/novaseq-x-x-plus/instrumentation-novaseq-x-x-plus-reference_material-list/000008422
https://knowledge.illumina.com/instrumentation/novaseq-6000/instrumentation-novaseq-6000-reference_material-list/000001931
https://cdn.10xgenomics.com/image/upload/v1743440506/support-documents/CG000809_SequencingHandbook_RevA.pdf
All indices are to be provided in the forward format, regardless of the sequencing platform.
All repeat bcl2fastq file conversions/demultiplexing will be charged $75.00 each due to incorrect sample sheet information.
To Complete the Sequencing Parameters Fields:
A sequencing service of instrument and run MUST be selected from the pull down menu.
Enter a loading concentration appropriate for your library type. Review the library protocol/method used and/or contact the vendor of the prep kit.
If no concentration is entered we will use the standard loading concentration which may not be appropriate for your library.
Reference material on loading concentration:
https://knowledge.illumina.com/library-preparation/general/library-preparation-general-reference_material-list/000006959
Enter a phiX % spike in amount. If no percentage is entered, CHGI will use 1%.
Reference material on PhiX spike in:
https://knowledge.illumina.com/instrumentation/general/instrumentation-general-reference_material-list/000001527
Enter read length configurations. When sequencing a single library, do not enter index reads. Review the library protocol/method and/or contact the vendor of the prep kit.
Reference material:
https://knowledge.illumina.com/library-preparation/general/library-preparation-general-faq-list/000006541
CHGI Pre-Constructed Library Assessment
CHGI will assess all pre-constructed libraries and library pools.
Assessment includes a visual assessment via TapeStation assay to ensure no left over adapter dimers and a fluorometric quant.
CHGI Performed Kapa qPCR Library Quantification Assay
All pre-constructed libraries will be assessed via a qPCR library quantification assay.
This assay only measures templates that have both adapter sequences on either end which will subsequently form clusters on an Illumina flow cell.
Due to storage limitations, remaining samples or library will be discarded after 3 months.
Pre-arrange sample or library pick up once sequencing is complete with dnaseq@ucalgary.ca if required.
Don't see required service? Library concentration/volume outside requirements? Contact us before submitting samples.
Submission Requirements
Platform | Volume per Library | Concentration | Format | Buffer
Libraries Requiring Pooling:
MiSeq or NextSeq | ≥ 20 μl | ≥ 5 ng/μl | 0.2 mL plates or strip tubes with detachable caps | 10 mM Tris-HCl (no EDTA) or nuclease-free water
NovaSeq 6000 S2
NovaSeq 6000 S4
NovaSeq X 25B
Pre-Pooled Libraries:
MiSeq or NextSeq | ≥ 25 μl | ≥ 2 ng/μl | 0.5 mL or 1.5 mL DNA LoBind tubes | 10 mM Tris-HCl (no EDTA) or nuclease-free water
NovaSeq 6000 S2 | ≥ 50 μl
NovaSeq 6000 S4 | ≥ 85 μl
NovaSeq X 25B | ≥ 50 μl
Custom Indexes and/or Sequencing Primers
Contact CHGI before sample submission.
Custom sequencing primers should be submitted at 100uM.
Centre for Health Genomics and Informatics Cumming School of Medicine, University of Calgary

## Library_Information
PRE-CONSTRUCTED LIBRARIES FOR SEQUENCING
Please credit the Centre for Health Genomics and Informatics in the acknowledgement section of your publications. Core facilities provide essential services to their users and it is important to recognize their contributions in publications as this is considered a metric of value.
| IMPORTANT: | Read the INSTRUCTIONS tab before completing this form.
Make note of the extra $75.00 charge for every repeat bcl2fastq file conversion/demultiplexing.
Make note of the limitations on custom library preparation.
Enter information into the green fields only.
Incomplete forms and/or samples that do not meet the input requirments as set out in the INSTRUCTIONS tab will be returned.
| Customer Information: |  |  |  |  | Date:
| Project Name |  |  |  | PI Name
| Name (same as AAF) |  |  |  | PI Email
| User Phone |  |  |  | UofC Institute
| User Email |  |  |  | Bioinformatics
Library Information:
| Library Prep Kit Method/Version |  |  |  | Provide Vendor and Name of library prep or enter Custom.
| Single or Dual Indexing |  |  |  | Indicate if the libraries are single- or dual-indexed
| ssDNA or dsDNA |  |  |  | Select "ssDNA" if your library prep method included a final denaturation step
| PCR-free? |  |  |  | Select "Yes" if your libraries were prepared using a PCR-free method
| Sequencing Parameters: | See instructions tab for more information.
| Sequencing Service (instrument and run) |  |  |  | Must select
| Loading Concentration (in pM) |  |  |  | If no loading concentration is provided, standard loading concentration will be used which may not be appropriate for custom library preps.
| %phiX spike-in |  |  |  | Default is 1%. Low-diversity libraries 5 - 25%.
| Read Length Configuration (number of sequencing cycles) | Read 1 | i7 Index | i5 Index | Read 2
If no read lengths are provided, standard read lengths will be applied which may not be appropriate for all library types.
Pooling Instructions: check one
1. I have one library or all my libraries are pre-pooled in a single tube (I am submitting ONE tube)
2. I am submitting multiple sample tubes ALL to be pooled equally.
3. I am submitting multiple sample tubes and I need UN-EQUAL pooling.
Data Output: check one
1. I would like FASTQ files and will provide a sample sheet for demultiplexing.
2. I would like .cbcl files and will do my own demultiplexing.
| Data Sharing: check one |  |  |  |  | type ARC pathway or BaseSpace account email below:
| 1. I have an ARC directory where I want my run files copied to (type path). |  |  |  |  | /work/my_lab/folder/
2. I do not have an ARC directory or I am an external customer.
| 3. (MiSeq only) Data will be transferred through Illumina BaseSpace (type email). |  |  |  |  | [email account for BaseSpace]
Tube Label | 1. Sample/Pool Name One per tube | 2. Container Type | 3. Plate Well or Tube # | 4. Sample Concentration | 5. Units | 6. Volume (uL) | 7. Sample Buffer | 8. Library size in bp If known | 9. Percentage of sample to be added to pool | 10. Run Pooling if applicable
| alphanumeric hyphen ONLY, max 30 characters | see requirements tab | A01, B01, etc… | see Instructions tab | select from drop down menu | see Instructions tab | select from drop down menu | If left blank CHGI will run sizing assay | each pool must total 100% | For multiple sequencing runs, indicate which libraries to pool onto each run
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
Centre for Health Genomics and Informatics Cumming School of Medicine, University of Calgary
If checked DO NOT ENTER any pooling percentages in table below
If checked YOU MUST ENTER pooling percentages in table below
If checked DO NOT ENTER any pooling percentages in table below
FASTQ files
.cbcl files
Copy to ARC directory
Illumina BaseSpace share
Send OneDrive folder download link

## Index_Information
IMPORTANT: | Enter information into the green fields only.
Current values are examples only. Must replace.
Optional values are index plate well and index IDs.
REQUIRED values are sample names and index sequences.
Delete current values prior to entering your own values.
| DO YOU NEED ADAPTER TRIMMING? | YES / NO | Must select. If yes enter adapter sequences below.
AdapterRead1 | example - AGATCGGAAGAGCACACGTCTGAACTCCAGTCA
AdapterRead2 | example - AGATCGGAAGAGCGTCGTGTAGGGAAAGAGTGT
Reference material on adapter trimming:
https://knowledge.illumina.com/library-preparation/general/library-preparation-general-reference_material-list/000001314
| REQUIRED | Optional | Optional | REQUIRED | Optional | REQUIRED
Sample_ID | Sample_Name (alphanumeric underscore only) | Index_Plate_Well | I7_Index_ID | i7 index | I5_Index_ID | i5 index
| example - Sample_1 | example - A05-Set4 | example - 321 | example - AAAGATCG | example - 321 | example - AAGGCAAC
| example - Sample_2 | example - B05-Set4 | example - 322 | example - GTGAGCTA | example - 322 | example - TTCATTGG
| example - Sample_3 | example - C05-Set4 | example - 323 | example - AACGCGGG | example - 323 | example - CAACTGAT

## Lists
Strip tube | 96 well plate BY COLUMN | 96 well plate BY ROW | UDF/Sequencing Service | UDF/Container Type | Units | Sample Buffer
1 | A01 | A01 | MiSeq v2 300 cycle nano sequencing kit | single tube | ng/μl | 10mM Tris
2 | B01 | A02 | MiSeq v2 500 cycle nano sequencing kit | 8 strip tube | nM | water
3 | C01 | A03 | MiSeq v2 300 cycle micro sequencing kit | 12 strip tube
4 | D01 | A04 | NextSeq 2000 P1 100 cycles XLEAP | 96 well plate
5 | E01 | A05 | NextSeq 2000 P1 300 cycles XLEAP
6 | F01 | A06 | NextSeq 2000 P1 600 cycles XLEAP
7 | G01 | A07 | NextSeq 2000 P2 100 cycles XLEAP
8 | H01 | A08 | NextSeq 2000 P2 200 cycles XLEAP
9 | A02 | A09 | NextSeq 2000 P2 300 cycles XLEAP
10 | B02 | A10 | NextSeq 2000 P2 600 cycles XLEAP
11 | C02 | A11 | NextSeq 2000 P3 100 cycles XLEAP
12 | D02 | A12 | NextSeq 2000 P3 200 cycles XLEAP
13 | E02 | B01 | NextSeq 2000 P3 300 cycles XLEAP
14 | F02 | B02 | NextSeq 2000 P4 100 cycles XLEAP
15 | G02 | B03 | NextSeq 2000 P4 200 cycles XLEAP
16 | H02 | B04 | NextSeq 2000 P4 300 cycles XLEAP
17 | A03 | B05 | NovaSeq 6000 500 cycle SP v1.5
18 | B03 | B06 | NovaSeq 6000 100 cycle S2 v1.5
19 | C03 | B07 | NovaSeq 6000 200 cycle S2 v1.5
20 | D03 | B08 | NovaSeq 6000 300 cycle S2 v1.5
21 | E03 | B09 | NovaSeq 6000 200 cycle S4 v1.5
22 | F03 | B10 | NovaSeq 6000 300 cycle S4 v1.5
23 | G03 | B11 | NovaSeq 6000 300 cycle S4 v1.5 one lane
24 | H03 | B12 | NovaSeq X 25B one lane
25 | A04 | C01
26 | B04 | C02
27 | C04 | C03
28 | D04 | C04
29 | E04 | C05
30 | F04 | C06
31 | G04 | C07
32 | H04 | C08
33 | A05 | C09
34 | B05 | C10
35 | C05 | C11
36 | D05 | C12
37 | E05 | D01
38 | F05 | D02
39 | G05 | D03
40 | H05 | D04
41 | A06 | D05
42 | B06 | D06
43 | C06 | D07
44 | D06 | D08
45 | E06 | D09
46 | F06 | D10
47 | G06 | D11
48 | H06 | D12
49 | A07 | E01
50 | B07 | E02
51 | C07 | E03
52 | D07 | E04
53 | E07 | E05
54 | F07 | E06
55 | G07 | E07
56 | H07 | E08
57 | A08 | E09
58 | B08 | E10
59 | C08 | E11
60 | D08 | E12
61 | E08 | F01
62 | F08 | F02
63 | G08 | F03
64 | H08 | F04
65 | A09 | F05
66 | B09 | F06
67 | C09 | F07
68 | D09 | F08
69 | E09 | F09
70 | F09 | F10
71 | G09 | F11
72 | H09 | F12
73 | A10 | G01
74 | B10 | G02
75 | C10 | G03
76 | D10 | G04
77 | E10 | G05
78 | F10 | G06
79 | G10 | G07
80 | H10 | G08
81 | A11 | G09
82 | B11 | G10
83 | C11 | G11
84 | D11 | G12
85 | E11 | H01
86 | F11 | H02
87 | G11 | H03
88 | H11 | H04
89 | A12 | H05
90 | B12 | H06
91 | C12 | H07
92 | D12 | H08
93 | E12 | H09
94 | F12 | H10
95 | G12 | H11
96 | H12 | H12

## Other (hidden)
Yes
No
ssDNA
dsDNA
Single-indexed
Dual-indexed